## Table S2
Table S2. Raw data analysis workflow and parameters for processing using the MZmine 2 software.
1) Project / Set preferences…
m/z value format | 4 decimals
Retention time value format | 1 decimals
Intensity format | 1 decimal with exponent
2) Raw data methods / Raw data file import
Filename | *all data files*
3) Raw data methods / Peak detection / Mass detection
Mass detector | Exact mass
| Noise level | 1E3
MS level | 1
Mass list name | Mass list MS1
4) Raw data methods / Peak detection / FTMS shoulder peaks filter
Mass list | Mass list MS1
Mass resolution | 60000
Peak model function | Lorenzian extended
Suffix | filtered
Remove original mass list | Yes
5) Raw data methods / Peak detection / Chromatogram builder
Mass list | Mass list MS1 filtered
Min time span | 0.20
Min height | 1E4
m/z tolerance | 0.001 m/z or 10 ppm
Suffix | chromatograms
6) Peak list methods / Peak detection / Smoothing
Suffix | smoothed
Filter width | 5
Remove original peak list | Yes
7) Peak list methods / Peak detection / Chromatogram deconvolution
Suffix | deconvoluted
Peak resolver | Local minimum search
| Chromatographic threshold | 85%
| Search minimum in RT range | 0.1
| Minimum relative height | 1%
| Minimum absolute height | 1E4
| Min ratio of peak top/edge | 2
| Peak duration range (min) | 0 - 10
Remove original peak list | Yes
8) Peak list methods / Isotopes / Isotopic peaks grouper
Name suffix | deisotoped
m/z tolerance | 0.02 m/z or 20 ppm
Retention time tolerance | 0.1 (absolute)
Monotonic shape | No
Maximum charge | 2
Representative isotope | Most intense
Remove original peak list | Yes
9) Peak list methods / Alignment / Join aligner (run separately for negative ionization mode and positive ionization mode data)
Peak list name | Positive mode or Negative mode
m/z tolerance | 0.001 m/z or 10 ppm
Weight for m/z | 10
Retention time tolerance | 0.5 (absolute)
Weight for RT | 10
Require same charge state | No
Require same ID | No
Compare isotope pattern | No
10) Peak list methods / Gap filling / Same RT and m/z range gap filler
Name suffix | gap-filled
m/z tolerance | 0.001 m/z or 5 ppm
Remove original peak list | Yes
11) Peak list methods / Normalization / Standard compound normalizer
Name suffix | normalized
Normalization type | Weighted contribution of all standards
Peak measurement type | Peak area
m/z vs RT balance | 10
Standard compounds | PIPES (301.053 m/z @12.1 min in negative mode, 303.067 m/z @12.1 min in positive mode ) and HEPES (237.091 m/z @8.4 min in negative mode, 239.105 m/z @8.3 min in positive mode)
Remove original peak list | Yes